Evaluation of Poly-L/D-lactide (PLDLA) 96/4 Scaffolds Implanted in the Subcutis of Rats

Satu Länsman1, Minna Kellomäki2, Pertti Törmälä2, Timo Waris3, Nureddin Ashammakhi2

1. Department of Ophthalmology, Oulu University Hospital, Oulu, Finland.

2. Institute of Biomaterials, Tampere University of Technology, Tampere, Finland. 
3. Division of Plastic Surgery, Department of Surgery, Oulu University Hospital, Oulu, Finland.

Background
Various materials for scleral buckling have been used over the years. Non-absorbable materials are commonly used, such as hydrogel and silicone, either solid rubber or silicone sponge. Now also bioabsorbable synthetic materials are available for scleral buckling in cases when only temporary buckling effect is needed.   

Aims 
To study the poly-L/D-lactide (PLDLA) 96/4 (96/4, molar ratio of L/D lactide) scaffolds in vivo in the subcutaneous tissue of rats.

Material and methods 
Cylindrical knitted mesh scaffolds were made of PLDLA 96/4 fibers, with each fiber made of 8 PLDLA filaments. All implants were sized 15 x 3.5 mm. Three types were evaluated: Dense (weight 30 g), ordinary (25 g) and loose (20 g). Four scaffolds (2 ordinary, one dense and one loose type) were implanted in the dorsal subcutis of each of 32 Sprague-Dawley male rats. The implants were retrieved after 3 days, 1, 2, 3, 6, 12, 24 and 52 weeks postoperatively and they were removed with 5 mm of surrounding tissues. One ordinary scaffold was examined for characterisation of mechanical properties. The rest were examined histologically for tissue reaction and ingrowth. 

Results 
No postoperative occurred. Tissue ingrowth reached the innermost part of the implants within three weeks. Fibrin was the first to fill in the scaffold followed by the cells and at last collagen fibers were found in the structure. The orientation of the collagen fibers inside the implant changed from non-oriented to highly oriented fibers making septae. The amount of macrophages increased over the follow-up period of 52 weeks, which is most probably due to increasing implant material degradation. The material was not fragmented at 52 weeks.

Conclusions 
Upon implantation in rats, fibrous tissue ingrowth proceeds from all sides of the scaffold filling it completely at 3 weeks. The collagen fibers get more organized by time. Single fibers of the material were not fragmented at 52 weeks.